## Process Water-1 and 2
Constituent | UoM | Test Method
Chemical
Electrical Conductivity at 25 ⁰C | µS/cm | APHA 2510 B
pH Value at 25 ⁰C | - | APHA 4500 H+ B
Temperature at Lab | °C | Standard Therometer Probe
Total Dissolved Solids at 180 ⁰C | mg/L | APHA 2540 C
Bicarbonate as HCO3 | mg/L | APHA 2320 B
Carbonate as CO3 | mg/L | APHA 2320 B
Total Alkalinity as CaCO3 | mg/L | APHA 2320 B
Chloride as Cl- | mg/L | APHA 4500 Cl- B
Calcium as Ca | mg/L | APHA 3500 Ca B
Magnesium as Mg | mg/L | APHA 3500 Mg B
Sulphate as SO4 | mg/L | APHA 4500 SO42- C
Metals
Sodium as Na | mg/L | APHA 3120 B/ICP
Potassium as K | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Iron as Fe | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method

## Clarifier Outlet-1
Constituent | UoM | Test Method
Chemical
pH Value @25°C | - | APHA 4500 H+ B
Electrical Conductivity at 25 ⁰C | µS/cm | APHA 2510 B
Temperature @ Lab | °C | Standard Therometer Probe
Total Suspended Solids @105°C | mg/L | APHA 2540 D
Total Dissolved Solids at 180 ⁰C | mg/L | APHA 2540 C
Ammonical Nitrogen as N | mg/L | APHA 4500 NH3
Organic Khjeldal Nitrogen as N* | mg/L | APHA 4500 N Org
Nitrate-Nitrogen as N | mg/L | HACH 8039
Biochemical Oxygen Demand (BOD5) | mg/L | APHA 5210 B
Chemical Oxygen Demand (COD) | mg/L | APHA 5220 B
Total Alkalinity as CaCO3 | mg/L | APHA 2320 B
Chloride as Cl- | mg/L | APHA 4500 Cl- B
Magnesium as Mg | mg/L | APHA 3500 Mg B
Sulphate as SO4 | mg/L | APHA 4500 SO42- C
Phosphorous as P* | mg/L | HACH 8048
Cyanide* | mg/L | HACH 8027
Fluoride | mg/L | HACH 8029
Oil & Grease* | mg/L | APHA/IR Spectro
Sulphide as S* | mg/L | HACH 8131
Total Phenol* | mg/L | HACH 8047
Sodium Absorption Ratio* | - | Calculation
Metals
Sodium as Na | mg/L | APHA 3120 B/ICP
Aluminium as Al | mg/L | APHA 3120 B/ICP
Arsenic as As | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Beryllium as Be | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Cadmium as Cd | mg/L | APHA 3120 B/ICP
Total Chromium as Cr | mg/L | APHA 3120 B/ICP
Cobalt as Co | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Total Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Lithium as Li | mg/L | APHA 3120 B/ICP
Mercury as Hg* | mg/L | APHA/ICP/AFS
Manganese as Mn | mg/L | APHA 3120 B/ICP
Molybdenum as Mo | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Selenium as Se | mg/L | APHA 3120 B/ICP
Silver as Ag | mg/L | APHA 3120 B/ICP
Vanadium as V | mg/L | APHA 3120 B/ICP
Zinc as Zn | mg/L | APHA 3120 B/ICP
Microbiology Analysis
Fecal Coliforms | CFU/100mL | APHA 9222 D
Nematode Ova* | No/L | APHA 10750
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method

## RO Reject
Constituent | UoM | Test Method
Chemical
pH Value @25°C | - | APHA 4500 H+ B
Temperature @ Lab | °C | Standard Therometer Probe
Total Suspended Solids @105°C | mg/L | APHA 2540 D
Ammonical Nitrogen as N | mg/L | APHA 4500 NH3
Organic Khjeldal Nitrogen as N | mg/L | APHA 4500 N Org
Nitrate-Nitrogen as N | mg/L | HACH 8039
Total Nitrogen as N | mg/L | APHA 4500 N
Biochemical Oxygen Demand (BOD5) | mg/L | APHA 5210 B | 13
Chemical Oxygen Demand (COD) | mg/L | APHA 5220 B
Total Phosphorous as P | mg/L | HACH 8048
Total Cyanide | mg/L | HACH 8027
Fluoride | mg/L | HACH 8029
Oil & Grease | mg/L | APHA/IR Spectro
Total Chlorine | mg/L | HACH 8167
Total sulphide as S | mg/L | HACH 8131
Total Phenol | mg/L | HACH 8047
Metals
Aluminium as Al | mg/L | APHA 3120 B/ICP
Arsenic as As | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Beryllium as Be | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Cadmium as Cd | mg/L | APHA 3120 B/ICP
Chromium as Cr | mg/L | APHA 3120 B/ICP
Cobalt as Co | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Total Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Lithium as Li | mg/L | APHA 3120 B/ICP
Mercury as Hg | mg/L | APHA/ICP/AFS
Molybdenum as Mo | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Selenium as Se | mg/L | APHA 3120 B/ICP
Silver as Ag | mg/L | APHA 3120 B/ICP
Vanadium as V | mg/L | APHA 3120 B/ICP
Zinc as Zn | mg/L | APHA 3120 B/ICP
Organo Halogens
Dichlorodifluoromethane | mg/L | USEPA 8260D / 5021A
Chloromethane | mg/L | USEPA 8260D / 5021A
Vinyl Chloride | mg/L | USEPA 8260D / 5021A
Bromomethane | mg/L | USEPA 8260D / 5021A
Chloroethane | mg/L | USEPA 8260D / 5021A
Trichlorofluoromethane | mg/L | USEPA 8260D / 5021A
1,1-Dichloroethane | mg/L | USEPA 8260D / 5021A
2,2,-Dichloropropane | mg/L | USEPA 8260D / 5021A
Bromochloromethane | mg/L | USEPA 8260D / 5021A
1,1,1-Trichloroethane | mg/L | USEPA 8260D / 5021A
1,1-dichloropropane | mg/L | USEPA 8260D / 5021A
Trichloroethene | mg/L | USEPA 8260D / 5021A
1,2-dichloroethane | mg/L | USEPA 8260D / 5021A
Bromodichloromethane | mg/L | USEPA 8260D / 5021A
Dibromomethane | mg/L | USEPA 8260D / 5021A
Cis-1,3-dichloropropene | mg/L | USEPA 8260D / 5021A
Trans-1,3-dichloropropane | mg/L | USEPA 8260D / 5021A
1,1,2 -trichloropropane | mg/L | USEPA 8260D / 5021A
Tetrachloroethane | mg/L | USEPA 8260D / 5021A
Dibromochloromethane | mg/L | USEPA 8260D / 5021A
1,2-dibroethane | mg/L | USEPA 8260D / 5021A
Chlorobenzene | mg/L | USEPA 8260D / 5021A
1,1,1,2-tetrachloroethane | mg/L | USEPA 8260D / 5021A
Ethyl Benzene | mg/L | USEPA 8260D / 5021A
Bromoform | mg/L | USEPA 8260D / 5021A
1,1,2,2,-tetrachloroethane | mg/L | USEPA 8260D / 5021A
1,2,3-trichloropropane | mg/L | USEPA 8260D / 5021A
n-propyl benzene | mg/L | USEPA 8260D / 5021A
Bromobenzene | mg/L | USEPA 8260D / 5021A
2-Chlorotoluene | mg/L | USEPA 8260D / 5021A
4-Chlorotoluene | mg/L | USEPA 8260D / 5021A
Tert-Butylbenzene | mg/L | USEPA 8260D / 5021A
1,2,4,-Trimethylbenzene | mg/L | USEPA 8260D / 5021A
1,3-dichlorobenzene | mg/L | USEPA 8260D / 5021A
Bromobenzene | mg/L | USEPA 8260D / 5021A
2-Chlorotoluene | mg/L | USEPA 8260D / 5021A
4-Chlorotoluene | mg/L | USEPA 8260D / 5021A
Tert-Butylbenzene | mg/L | USEPA 8260D / 5021A
1,2,4,-Trimethylbenzene | mg/L | USEPA 8260D / 5021A
1,3-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,4-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,2-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,2-dibromo-3-Chloropropane | mg/L | USEPA 8260D / 5021A
1,2,4-tricholrobenzene | mg/L | USEPA 8260D / 5021A
Hexacholorobutadiene | mg/L | USEPA 8260D / 5021A
1,2,3-trichlorobenzene | mg/L | USEPA 8260D / 5021A
Pesticides and Biproducts
Aldrin | mg/L | USEPA 8270E / 3550C
a-BHC | mg/L | USEPA 8270E / 3550C
b-BHC | mg/L | USEPA 8270E / 3550C
d-BHC | mg/L | USEPA 8270E / 3550C
g-BHC | mg/L | USEPA 8270E / 3550C
4,4'-DDD | mg/L | USEPA 8270E / 3550C
4,4'-DDE | mg/L | USEPA 8270E / 3550C
4,4'-DDT | mg/L | USEPA 8270E / 3550C
Dieldrin | mg/L | USEPA 8270E / 3550C
Endosulfan I | mg/L | USEPA 8270E / 3550C
Endosulfan II | mg/L | USEPA 8270E / 3550C
Endosulfan sulfate | mg/L | USEPA 8270E / 3550C
Endrin | mg/L | USEPA 8270E / 3550C
Endrin aldehyde | mg/L | USEPA 8270E / 3550C
Heptachlor | mg/L | USEPA 8270E / 3550C
Heptachlor epoxide | mg/L | USEPA 8270E / 3550C
Methoxychlor | mg/L | USEPA 8270E / 3550C
Aramite | mg/L | USEPA 8270E / 3550C
Chlorobenzilate | mg/L | USEPA 8270E / 3550C
Diallate | mg/L | USEPA 8270E / 3550C
Isodrin | mg/L | USEPA 8270E / 3550C
Kepone | mg/L | USEPA 8270E / 3550C
Pronamide | mg/L | USEPA 8270E / 3550C
Dimethoate | mg/L | USEPA 8270E / 3550C
Disulfoton | mg/L | USEPA 8270E / 3550C
Famphur | mg/L | USEPA 8270E / 3550C
Methyl parathion | mg/L | USEPA 8270E / 3550C
Parathion | mg/L | USEPA 8270E / 3550C
Phorate | mg/L | USEPA 8270E / 3550C
Sulfotep | mg/L | USEPA 8270E / 3550C
Thionazin | mg/L | USEPA 8270E / 3550C
O,O,O-Triethylphosphorothioate | mg/L | USEPA 8270E / 3550C
Tributyl Tin(Organo Tin Compound) | mg/L | ISO 17353:2004
Organo Silicon Compounds | mg/L | IHP/GCMS
Organo Copper Compounds | mg/L | IHP/GCMS
Microbiology Analysis
Fecal Coliforms | CFU/100mL | APHA 9222 D
Nematode Ova | No/L | APHA 10750
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method

## MLD STP Balancing Tank-6
Constituent | UoM | Test Method
Analytical Results - Chemical
pH Value @25°C | - | APHA 4500 H+ B
Temperature @ Lab | °C | Standard Therometer Probe
Total Suspended Solids @105°C | mg/L | APHA 2540 D
Ammonical Nitrogen as N | mg/L | APHA 4500 NH3
Organic Khjeldal Nitrogen as N | mg/L | APHA 4500 N Org
Nitrate-Nitrogen as N | mg/L | HACH 8039
Total Nitrogen as N | mg/L | APHA 4500 N
Biochemical Oxygen Demand (BOD5) | mg/L | APHA 5210 B
Chemical Oxygen Demand (COD) | mg/L | APHA 5220 B
Total Phosphorous as P | mg/L | HACH 8048
Total Cyanide | mg/L | HACH 8027
Fluoride | mg/L | HACH 8029
Oil & Grease | mg/L | APHA/IR Spectro
Total Chlorine | mg/L | HACH 8167
Total sulphide as S | mg/L | HACH 8131
Total Phenol | mg/L | HACH 8047
Metals
Aluminium as Al | mg/L | APHA 3120 B/ICP
Arsenic as As | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Beryllium as Be | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Cadmium as Cd | mg/L | APHA 3120 B/ICP
Chromium as Cr | mg/L | APHA 3120 B/ICP
Cobalt as Co | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Lithium as Li | mg/L | APHA 3120 B/ICP
Mercury as Hg* | mg/L | APHA/ICP/AFS
Molybdenum as Mo | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Selenium as Se | mg/L | APHA 3120 B/ICP
Silver as Ag | mg/L | APHA 3120 B/ICP
Vanadium as V | mg/L | APHA 3120 B/ICP
Zinc as Zn | mg/L | APHA 3120 B/ICP
Organo Halogens
Dichlorodifluoromethane | mg/L | USEPA 8260D / 5021A
Chloromethane | mg/L | USEPA 8260D / 5021A
Vinyl Chloride | mg/L | USEPA 8260D / 5021A
Bromomethane | mg/L | USEPA 8260D / 5021A
Chloroethane | mg/L | USEPA 8260D / 5021A
Trichlorofluoromethane | mg/L | USEPA 8260D / 5021A
1,1-Dichloroethane | mg/L | USEPA 8260D / 5021A
2,2,-Dichloropropane | mg/L | USEPA 8260D / 5021A
Bromochloromethane | mg/L | USEPA 8260D / 5021A
1,1,1-Trichloroethane | mg/L | USEPA 8260D / 5021A
1,1-dichloropropane | mg/L | USEPA 8260D / 5021A
Trichloroethene | mg/L | USEPA 8260D / 5021A
1,2-dichloroethane | mg/L | USEPA 8260D / 5021A
Bromodichloromethane | mg/L | USEPA 8260D / 5021A
Dibromomethane | mg/L | USEPA 8260D / 5021A
Cis-1,3-dichloropropene | mg/L | USEPA 8260D / 5021A
Trans-1,3-dichloropropane | mg/L | USEPA 8260D / 5021A
1,1,2 -trichloropropane | mg/L | USEPA 8260D / 5021A
Tetrachloroethane | mg/L | USEPA 8260D / 5021A
Dibromochloromethane | mg/L | USEPA 8260D / 5021A
1,2-dibroethane | mg/L | USEPA 8260D / 5021A
Chlorobenzene | mg/L | USEPA 8260D / 5021A
1,1,1,2-tetrachloroethane | mg/L | USEPA 8260D / 5021A
Ethyl Benzene | mg/L | USEPA 8260D / 5021A
Bromoform | mg/L | USEPA 8260D / 5021A
1,1,2,2,-tetrachloroethane | mg/L | USEPA 8260D / 5021A
1,2,3-trichloropropane | mg/L | USEPA 8260D / 5021A
n-propyl benzene | mg/L | USEPA 8260D / 5021A
Bromobenzene | mg/L | USEPA 8260D / 5021A
2-Chlorotoluene | mg/L | USEPA 8260D / 5021A
4-Chlorotoluene | mg/L | USEPA 8260D / 5021A
Tert-Butylbenzene | mg/L | USEPA 8260D / 5021A
1,2,4,-Trimethylbenzene | mg/L | USEPA 8260D / 5021A
1,3-dichlorobenzene | mg/L | USEPA 8260D / 5021A
Bromobenzene | mg/L | USEPA 8260D / 5021A
2-Chlorotoluene | mg/L | USEPA 8260D / 5021A
4-Chlorotoluene | mg/L | USEPA 8260D / 5021A
Tert-Butylbenzene | mg/L | USEPA 8260D / 5021A
1,2,4,-Trimethylbenzene | mg/L | USEPA 8260D / 5021A
1,3-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,4-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,2-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,2-dibromo-3-Chloropropane | mg/L | USEPA 8260D / 5021A
1,2,4-tricholrobenzene | mg/L | USEPA 8260D / 5021A
Hexacholorobutadiene | mg/L | USEPA 8260D / 5021A
1,2,3-trichlorobenzene | mg/L | USEPA 8260D / 5021A
Pesticides and Biproducts
Aldrin | mg/L | USEPA 8270E / 3550C
a-BHC | mg/L | USEPA 8270E / 3550C
b-BHC | mg/L | USEPA 8270E / 3550C
d-BHC | mg/L | USEPA 8270E / 3550C
g-BHC | mg/L | USEPA 8270E / 3550C
4,4'-DDD | mg/L | USEPA 8270E / 3550C
4,4'-DDE | mg/L | USEPA 8270E / 3550C
4,4'-DDT | mg/L | USEPA 8270E / 3550C
Dieldrin | mg/L | USEPA 8270E / 3550C
Endosulfan I | mg/L | USEPA 8270E / 3550C
Endosulfan II | mg/L | USEPA 8270E / 3550C
Endosulfan sulfate | mg/L | USEPA 8270E / 3550C
Endrin | mg/L | USEPA 8270E / 3550C
Endrin aldehyde | mg/L | USEPA 8270E / 3550C
Heptachlor | mg/L | USEPA 8270E / 3550C
Heptachlor epoxide | mg/L | USEPA 8270E / 3550C
Methoxychlor | mg/L | USEPA 8270E / 3550C
Aramite | mg/L | USEPA 8270E / 3550C
Chlorobenzilate | mg/L | USEPA 8270E / 3550C
Diallate | mg/L | USEPA 8270E / 3550C
Isodrin | mg/L | USEPA 8270E / 3550C
Kepone | mg/L | USEPA 8270E / 3550C
Pronamide | mg/L | USEPA 8270E / 3550C
Dimethoate | mg/L | USEPA 8270E / 3550C
Disulfoton | mg/L | USEPA 8270E / 3550C
Famphur | mg/L | USEPA 8270E / 3550C
Methyl parathion | mg/L | USEPA 8270E / 3550C
Parathion | mg/L | USEPA 8270E / 3550C
Phorate | mg/L | USEPA 8270E / 3550C
Sulfotep | mg/L | USEPA 8270E / 3550C
Thionazin | mg/L | USEPA 8270E / 3550C
O,O,O-Triethylphosphorothioate | mg/L | USEPA 8270E / 3550C
Tributyl Tin(Organo Tin Compound) | mg/L | ISO 17353:2004
Organo Silicon Compounds | mg/L | IHP/GCMS
Organo Copper Compounds | mg/L | IHP/GCMS
Microbiology Analysis
Fecal Coliforms | CFU/100mL | APHA 9222 D
Nematode Ova | No/L | APHA 10750
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method

## Clarifier Outlet-2
Constituent | UoM | Test Method
Analytical Results - Chemical
pH Value @25°C | - | APHA 4500 H+ B
Electrical Conductivity at 25 ⁰C | µS/cm | APHA 2510 B
Temperature @ Lab | °C | Standard Therometer Probe
Total Suspended Solids @105°C | mg/L | APHA 2540 D
Total Dissolved Solids at 180 ⁰C | mg/L | APHA 2540 C
Ammonical Nitrogen as N | mg/L | APHA 4500 NH3
Organic Khjeldal Nitrogen as N | mg/L | APHA 4500 N Org
Nitrate-Nitrogen as N | mg/L | HACH 8039
Biochemical Oxygen Demand (BOD5) | mg/L | APHA 5210 B
Chemical Oxygen Demand (COD) | mg/L | APHA 5220 B
Total Alkalinity as CaCO3 | mg/L | APHA 2320 B
Chloride as Cl- | mg/L | APHA 4500 Cl- B
Magnesium as Mg | mg/L | APHA 3500 Mg B
Sulphate as SO4 | mg/L | APHA 4500 SO42- C
Phosphorous as P | mg/L | HACH 8048
Cyanide | mg/L | HACH 8027
Fluoride | mg/L | HACH 8029
Oil & Grease | mg/L | APHA/IR Spectro
Sulphide as S | mg/L | HACH 8131
Total Phenol | mg/L | HACH 8047
Sodium Absorption Ratio | - | Calculation
Metals
Sodium as Na | mg/L | APHA 3120 B/ICP
Aluminium as Al | mg/L | APHA 3120 B/ICP
Arsenic as As | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Beryllium as Be | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Cadmium as Cd | mg/L | APHA 3120 B/ICP
Total Chromium as Cr | mg/L | APHA 3120 B/ICP
Cobalt as Co | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Total Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Lithium as Li | mg/L | APHA 3120 B/ICP
Mercury as Hg | mg/L | APHA/ICP/AFS
Manganese as Mn | mg/L | APHA 3120 B/ICP
Molybdenum as Mo | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Selenium as Se | mg/L | APHA 3120 B/ICP
Silver as Ag | mg/L | APHA 3120 B/ICP
Vanadium as V | mg/L | APHA 3120 B/ICP
Zinc as Zn | mg/L | APHA 3120 B/ICP
Organo Halogens
Dichlorodifluoromethane | mg/L | USEPA 8260D / 5021A
Chloromethane | mg/L | USEPA 8260D / 5021A
Vinyl Chloride | mg/L | USEPA 8260D / 5021A
Bromomethane | mg/L | USEPA 8260D / 5021A
Chloroethane | mg/L | USEPA 8260D / 5021A
Trichlorofluoromethane | mg/L | USEPA 8260D / 5021A
1,1-Dichloroethane | mg/L | USEPA 8260D / 5021A
2,2,-Dichloropropane | mg/L | USEPA 8260D / 5021A
Bromochloromethane | mg/L | USEPA 8260D / 5021A
1,1,1-Trichloroethane | mg/L | USEPA 8260D / 5021A
1,1-dichloropropane | mg/L | USEPA 8260D / 5021A
Trichloroethene | mg/L | USEPA 8260D / 5021A
1,2-dichloroethane | mg/L | USEPA 8260D / 5021A
Bromodichloromethane | mg/L | USEPA 8260D / 5021A
Dibromomethane | mg/L | USEPA 8260D / 5021A
Cis-1,3-dichloropropene | mg/L | USEPA 8260D / 5021A
Trans-1,3-dichloropropane | mg/L | USEPA 8260D / 5021A
1,1,2 -trichloropropane | mg/L | USEPA 8260D / 5021A
Tetrachloroethane | mg/L | USEPA 8260D / 5021A
Dibromochloromethane | mg/L | USEPA 8260D / 5021A
1,2-dibroethane | mg/L | USEPA 8260D / 5021A
Chlorobenzene | mg/L | USEPA 8260D / 5021A
1,1,1,2-tetrachloroethane | mg/L | USEPA 8260D / 5021A
Ethyl Benzene | mg/L | USEPA 8260D / 5021A
Bromoform | mg/L | USEPA 8260D / 5021A
1,1,2,2,-tetrachloroethane | mg/L | USEPA 8260D / 5021A
1,2,3-trichloropropane | mg/L | USEPA 8260D / 5021A
n-propyl benzene | mg/L | USEPA 8260D / 5021A
Bromobenzene | mg/L | USEPA 8260D / 5021A
2-Chlorotoluene | mg/L | USEPA 8260D / 5021A
4-Chlorotoluene | mg/L | USEPA 8260D / 5021A
Tert-Butylbenzene | mg/L | USEPA 8260D / 5021A
1,2,4,-Trimethylbenzene | mg/L | USEPA 8260D / 5021A
1,3-dichlorobenzene | mg/L | USEPA 8260D / 5021A
Bromobenzene | mg/L | USEPA 8260D / 5021A
2-Chlorotoluene | mg/L | USEPA 8260D / 5021A
4-Chlorotoluene | mg/L | USEPA 8260D / 5021A
Tert-Butylbenzene | mg/L | USEPA 8260D / 5021A
1,2,4,-Trimethylbenzene | mg/L | USEPA 8260D / 5021A
1,3-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,4-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,2-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,2-dibromo-3-Chloropropane | mg/L | USEPA 8260D / 5021A
1,2,4-tricholrobenzene | mg/L | USEPA 8260D / 5021A
Hexacholorobutadiene | mg/L | USEPA 8260D / 5021A
1,2,3-trichlorobenzene | mg/L | USEPA 8260D / 5021A
Microbiology Analysis
Nematode Ova | No/L | APHA 10750
Fecal Coliforms | CFU/100mL | APHA 9222 D
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method

## MBR Outlet
Constituent | UoM | Test Method
Chemical
Electrical Conductivity at 25 ⁰C | µS/cm | APHA 2510 B
pH Value @25°C | - | APHA 4500 H+ B
Temperature @ Lab | °C | Standard Therometer Probe
Total Suspended Solids @105°C | mg/L | APHA 2540 D
Total Dissolved Solids at 180 ⁰C | mg/L | APHA 2540 C
Ammonical Nitrogen as N | mg/L | APHA 4500 NH3
Organic Khjeldal Nitrogen as N | mg/L | APHA 4500 N Org
Nitrate as NO3 | mg/L | HACH 8039
Total Nitrogen as N | mg/L | APHA 4500 N
Biochemical Oxygen Demand (BOD5) | mg/L | APHA 5210 B
Chemical Oxygen Demand (COD) | mg/L | APHA 5220 B
Total Phosphorous as P | mg/L | HACH 8048
Chloride as Cl- | mg/L | APHA 4500 Cl- B
Sulphate as SO4 | mg/L | APHA 4500 SO42- C
Calcium as Ca | mg/L | APHA 3500 Ca B
Magnesium as Mg | mg/L | APHA 3500 Mg B
Bromide | mg/L | EPA 300.1 Bromide
Total Cyanide | mg/L | HACH 8027
Fluoride | mg/L | HACH 8029
Oil & Grease | mg/L | APHA/IR Spectro
Total Chlorine | mg/L | HACH 8167
Total sulphide as S | mg/L | HACH 8131
Total Phenol | mg/L | HACH 8047
Sodium Absorption Ratio | - | Calculation
Metals
Sodium as Na | mg/L | APHA 3120 B/ICP
Potassium as K | mg/L | APHA 3120 B/ICP
Aluminium as Al | mg/L | APHA 3120 B/ICP
Arsenic as As | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Beryllium as Be | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Cadmium as Cd | mg/L | APHA 3120 B/ICP
Chromium as Cr | mg/L | APHA 3120 B/ICP
Cobalt as Co | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Lithium as Li | mg/L | APHA 3120 B/ICP
Mercury as Hg* | mg/L | APHA/ICP/AFS
Manganese as Mn | mg/L | APHA 3120 B/ICP
Molybdenum as Mo | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Selenium as Se | mg/L | APHA 3120 B/ICP
Silver as Ag | mg/L | APHA 3120 B/ICP
Vanadium as V | mg/L | APHA 3120 B/ICP
Zinc as Zn | mg/L | APHA 3120 B/ICP
Microbiology Analysis
Fecal Coliforms | CFU/100mL | APHA 9222 D
Nematode Ova | No/L | APHA 10750
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method

## Sludge 8
Constituent | UoM | Test Method
Chemical
pH Value @25 °C* | - | ASTM D 4972
Moisture at 105 °C | % | Gravimetry
Metals
Cadmium as Cd | mg/Kg | USEPA 3050/6010 C
Chromium as Cr | mg/Kg | USEPA 3050/6010 C
Copper as Cu | mg/Kg | USEPA 3050/6010 C
Lead as Pb | mg/Kg | USEPA 3050/6010 C
Mercury as Hg | mg/Kg | ICP/OES
Molybdenum as Mo | mg/Kg | USEPA 3050/6010 C
Nickel as Ni | mg/Kg | USEPA 3050/6010 C
Selenium as Se | mg/Kg | USEPA 3050/6010 C
Zinc as Zn | mg/Kg | USEPA 3050/6010 C
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method