## RO Reject
Constituent | UoM | Test Method
Chemical
pH Value @25°C | - | APHA 4500 H+
Temperature @ Lab | °C | Standard Therometer Probe
Total Suspended Solids @105°C | mg/L | APHA 2540 D
Ammonical Nitrogen as N | mg/L | APHA 4500 NH3
Organic Khjeldal Nitrogen as N | mg/L | APHA 4500 N Org
Nitrate-Nitrogen as N | mg/L | HACH 8507
Biochemical Oxygen Demand (BOD5) | mg/L | APHA 5210 B
Chemical Oxygen Demand (COD) | mg/L | APHA 5220 B
Total Phosphorous as P | mg/L | HACH 8048
Total Cyanide | mg/L | HACH 8027
Total Chlorine | mg/L | HACH 8167
Fluoride | mg/L | HACH 8029
Oil & Grease | mg/L | APHA/IR Spectro
Total sulphide as S | mg/L | HACH 8131
Total Phenol | mg/L | HACH 8047
Metals
Aluminium as Al | mg/L | APHA 3120 B/ICP
Arsenic as As | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Beryllium as Be | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Cadmium as Cd | mg/L | APHA 3120 B/ICP
Chromium as Cr | mg/L | APHA 3120 B/ICP
Cobalt as Co | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Lithium as Li | mg/L | APHA 3120 B/ICP
Mercury as Hg | mg/L | APHA/ICP/AFS
Molybdenum as Mo | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Selenium as Se | mg/L | APHA 3120 B/ICP
Silver as Ag | mg/L | APHA 3120 B/ICP
Vanadium as V | mg/L | APHA 3120 B/ICP
Zinc as Zn | mg/L | APHA 3120 B/ICP
Volatile Organic Compounds
Acetaldehyde | mg/L | USEPA 8260D / 5021A
Formaldehyde | mg/L | USEPA 8260D / 5021A
Benzene | mg/L | USEPA 8260D / 5021A
Ethyl Benzene | mg/L | USEPA 8260D / 5021A
Toluene | mg/L | USEPA 8260D / 5021A
m-Xylene | mg/L | USEPA 8260D / 5021A
O-xylene | mg/L | USEPA 8260D / 5021A
p-Xylene | mg/L | USEPA 8260D / 5021A
Diethyl ether | mg/L | USEPA 8260D / 5021A
Methylene chloride | mg/L | USEPA 8260D / 5021A
Tetrahydrofuran | mg/L | USEPA 8260D / 5021A
1,2-Dichloropropane | mg/L | USEPA 8260D / 5021A
Chlorobenzene | mg/L | USEPA 8260D / 5021A
Naphthalene | mg/L | USEPA 8260D / 5021A
Ethanol | mg/L | USEPA 8260D / 5021A
Methanol | mg/L | USEPA 8260D / 5021A
2-Propanol | mg/L | USEPA 8260D / 5021A
Ethyl acetate | mg/L | USEPA 8260D / 5021A
Organo Halogens
Dichlorodifluoromethane | mg/L | USEPA 8260D / 5021A
Chloromethane | mg/L | USEPA 8260D / 5021A
Vinyl Chloride | mg/L | USEPA 8260D / 5021A
Bromomethane | mg/L | USEPA 8260D / 5021A
Chloroethane | mg/L | USEPA 8260D / 5021A
Trichlorofluoromethane | mg/L | USEPA 8260D / 5021A
1,1-Dichloroethane | mg/L | USEPA 8260D / 5021A
2,2,-Dichloropropane | mg/L | USEPA 8260D / 5021A
Bromochloromethane | mg/L | USEPA 8260D / 5021A
1,1,1-Trichloroethane | mg/L | USEPA 8260D / 5021A
1,1-dichloropropane | mg/L | USEPA 8260D / 5021A
Trichloroethene | mg/L | USEPA 8260D / 5021A
1,2-dichloroethane | mg/L | USEPA 8260D / 5021A
Bromodichloromethane | mg/L | USEPA 8260D / 5021A
Dibromomethane | mg/L | USEPA 8260D / 5021A
Cis-1,3-dichloropropene | mg/L | USEPA 8260D / 5021A
Trans-1,3-dichloropropane | mg/L | USEPA 8260D / 5021A
1,1,2 -trichloropropane | mg/L | USEPA 8260D / 5021A
Tetrachloroethane | mg/L | USEPA 8260D / 5021A
Dibromochloromethane | mg/L | USEPA 8260D / 5021A
1,2-dibroethane | mg/L | USEPA 8260D / 5021A
Chlorobenzene | mg/L | USEPA 8260D / 5021A
1,1,1,2-tetrachloroethane | mg/L | USEPA 8260D / 5021A
Ethyl Benzene | mg/L | USEPA 8260D / 5021A
Bromoform | mg/L | USEPA 8260D / 5021A
1,1,2,2,-tetrachloroethane | mg/L | USEPA 8260D / 5021A
1,2,3-trichloropropane | mg/L | USEPA 8260D / 5021A
n-propyl benzene | mg/L | USEPA 8260D / 5021A
Bromobenzene | mg/L | USEPA 8260D / 5021A
2-Chlorotoluene | mg/L | USEPA 8260D / 5021A
4-Chlorotoluene | mg/L | USEPA 8260D / 5021A
Tert-Butylbenzene | mg/L | USEPA 8260D / 5021A
1,2,4,-Trimethylbenzene | mg/L | USEPA 8260D / 5021A
1,3-dichlorobenzene | mg/L | USEPA 8260D / 5021A
Bromobenzene | mg/L | USEPA 8260D / 5021A
2-Chlorotoluene | mg/L | USEPA 8260D / 5021A
4-Chlorotoluene | mg/L | USEPA 8260D / 5021A
Tert-Butylbenzene | mg/L | USEPA 8260D / 5021A
1,2,4,-Trimethylbenzene | mg/L | USEPA 8260D / 5021A
1,3-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,4-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,2-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,2-dibromo-3-Chloropropane | mg/L | USEPA 8260D / 5021A
1,2,4-tricholrobenzene | mg/L | USEPA 8260D / 5021A
Hexacholorobutadiene | mg/L | USEPA 8260D / 5021A
1,2,3-trichlorobenzene | mg/L | USEPA 8260D / 5021A
Pesticides and Biproducts
Aldrin | mg/L | USEPA 8270E / 3550C
a-BHC | mg/L | USEPA 8270E / 3550C
b-BHC | mg/L | USEPA 8270E / 3550C
d-BHC | mg/L | USEPA 8270E / 3550C
g-BHC | mg/L | USEPA 8270E / 3550C
4,4'-DDD | mg/L | USEPA 8270E / 3550C
4,4'-DDE | mg/L | USEPA 8270E / 3550C
4,4'-DDT | mg/L | USEPA 8270E / 3550C
Dieldrin | mg/L | USEPA 8270E / 3550C
Endosulfan I | mg/L | USEPA 8270E / 3550C
Endosulfan II | mg/L | USEPA 8270E / 3550C
Endosulfan sulfate | mg/L | USEPA 8270E / 3550C
Endrin | mg/L | USEPA 8270E / 3550C
Endrin aldehyde | mg/L | USEPA 8270E / 3550C
Heptachlor | mg/L | USEPA 8270E / 3550C
Heptachlor epoxide | mg/L | USEPA 8270E / 3550C
Methoxychlor | mg/L | USEPA 8270E / 3550C
Aramite | mg/L | USEPA 8270E / 3550C
Chlorobenzilate | mg/L | USEPA 8270E / 3550C
Diallate | mg/L | USEPA 8270E / 3550C
Isodrin | mg/L | USEPA 8270E / 3550C
Kepone | mg/L | USEPA 8270E / 3550C
Pronamide | mg/L | USEPA 8270E / 3550C
Dimethoate | mg/L | USEPA 8270E / 3550C
Disulfoton | mg/L | USEPA 8270E / 3550C
Famphur | mg/L | USEPA 8270E / 3550C
Methyl parathion | mg/L | USEPA 8270E / 3550C
Parathion | mg/L | USEPA 8270E / 3550C
Phorate | mg/L | USEPA 8270E / 3550C
Sulfotep | mg/L | USEPA 8270E / 3550C
Thionazin | mg/L | USEPA 8270E / 3550C
O,O,O-Triethylphosphorothioate | mg/L | USEPA 8270E / 3550C
Tributyl Tin(Organo Tin Compound)#* | mg/L | ISO 17353:2004
Organo Silicon Compounds#* | mg/L | IHP/GCMS
Organo Copper Compounds#* | mg/L | IHP/GCMS
Microbiology Analysis
Fecal Coliforms | CFU/100mL | APHA 9222 D
Nematode Ova | No/L | APHA 10750
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method

## Backwash Water
Constituent | UoM | Test Method
Chemical
pH Value @25°C | - | APHA 4500 H+
Temperature @ Lab | °C | Standard Therometer Probe
Total Suspended Solids @105°C | mg/L | APHA 2540 D
Ammonical Nitrogen as N | mg/L | APHA 4500 NH3
Organic Khjeldal Nitrogen as N | mg/L | APHA 4500 N Org
Nitrate-Nitrogen as N | mg/L | HACH 8507
Biochemical Oxygen Demand (BOD5) | mg/L | APHA 5210 B
Chemical Oxygen Demand (COD) | mg/L | APHA 5220 B
Total Phosphorous as P* | mg/L | HACH 8048
Total Cyanide* | mg/L | HACH 8027
Total Chlorine* | mg/L | HACH 8167
Fluoride | mg/L | HACH 8029
Oil & Grease* | mg/L | APHA/IR Spectro
Total sulphide as S* | mg/L | HACH 8131
Total Phenol* | mg/L | HACH 8047
Metals
Aluminium as Al | mg/L | APHA 3120 B/ICP
Arsenic as As | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Beryllium as Be | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Cadmium as Cd | mg/L | APHA 3120 B/ICP
Chromium as Cr | mg/L | APHA 3120 B/ICP
Cobalt as Co | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Lithium as Li | mg/L | APHA 3120 B/ICP
Mercury as Hg | mg/L | APHA/ICP/AFS
Molybdenum as Mo | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Selenium as Se | mg/L | APHA 3120 B/ICP
Silver as Ag | mg/L | APHA 3120 B/ICP
Vanadium as V | mg/L | APHA 3120 B/ICP
Zinc as Zn | mg/L | APHA 3120 B/ICP
Volatile Organic Compounds
Acetaldehyde | mg/L | USEPA 8260D / 5021A
Formaldehyde | mg/L | USEPA 8260D / 5021A
Benzene | mg/L | USEPA 8260D / 5021A
Ethyl Benzene | mg/L | USEPA 8260D / 5021A
Toluene | mg/L | USEPA 8260D / 5021A
m-Xylene | mg/L | USEPA 8260D / 5021A
O-xylene | mg/L | USEPA 8260D / 5021A
p-Xylene | mg/L | USEPA 8260D / 5021A
Diethyl ether | mg/L | USEPA 8260D / 5021A
Methylene chloride | mg/L | USEPA 8260D / 5021A
Tetrahydrofuran | mg/L | USEPA 8260D / 5021A
1,2-Dichloropropane | mg/L | USEPA 8260D / 5021A
Chlorobenzene | mg/L | USEPA 8260D / 5021A
Naphthalene | mg/L | USEPA 8260D / 5021A
Ethanol | mg/L | USEPA 8260D / 5021A
Methanol | mg/L | USEPA 8260D / 5021A
2-Propanol | mg/L | USEPA 8260D / 5021A
Ethyl acetate | mg/L | USEPA 8260D / 5021A
Organo Halogens
Dichlorodifluoromethane | mg/L | USEPA 8260D / 5021A
Chloromethane | mg/L | USEPA 8260D / 5021A
Vinyl Chloride | mg/L | USEPA 8260D / 5021A
Bromomethane | mg/L | USEPA 8260D / 5021A
Chloroethane | mg/L | USEPA 8260D / 5021A
Trichlorofluoromethane | mg/L | USEPA 8260D / 5021A
1,1-Dichloroethane | mg/L | USEPA 8260D / 5021A
2,2,-Dichloropropane | mg/L | USEPA 8260D / 5021A
Bromochloromethane | mg/L | USEPA 8260D / 5021A
1,1,1-Trichloroethane | mg/L | USEPA 8260D / 5021A
1,1-dichloropropane | mg/L | USEPA 8260D / 5021A
Trichloroethene | mg/L | USEPA 8260D / 5021A
1,2-dichloroethane | mg/L | USEPA 8260D / 5021A
Bromodichloromethane | mg/L | USEPA 8260D / 5021A
Dibromomethane | mg/L | USEPA 8260D / 5021A
Cis-1,3-dichloropropene | mg/L | USEPA 8260D / 5021A
Trans-1,3-dichloropropane | mg/L | USEPA 8260D / 5021A
1,1,2 -trichloropropane | mg/L | USEPA 8260D / 5021A
Tetrachloroethane | mg/L | USEPA 8260D / 5021A
Dibromochloromethane | mg/L | USEPA 8260D / 5021A
1,2-dibroethane | mg/L | USEPA 8260D / 5021A
Chlorobenzene | mg/L | USEPA 8260D / 5021A
1,1,1,2-tetrachloroethane | mg/L | USEPA 8260D / 5021A
Ethyl Benzene | mg/L | USEPA 8260D / 5021A
Bromoform | mg/L | USEPA 8260D / 5021A
1,1,2,2,-tetrachloroethane | mg/L | USEPA 8260D / 5021A
1,2,3-trichloropropane | mg/L | USEPA 8260D / 5021A
n-propyl benzene | mg/L | USEPA 8260D / 5021A
Bromobenzene | mg/L | USEPA 8260D / 5021A
2-Chlorotoluene | mg/L | USEPA 8260D / 5021A
4-Chlorotoluene | mg/L | USEPA 8260D / 5021A
Tert-Butylbenzene | mg/L | USEPA 8260D / 5021A
1,2,4,-Trimethylbenzene | mg/L | USEPA 8260D / 5021A
1,3-dichlorobenzene | mg/L | USEPA 8260D / 5021A
Bromobenzene | mg/L | USEPA 8260D / 5021A
2-Chlorotoluene | mg/L | USEPA 8260D / 5021A
4-Chlorotoluene | mg/L | USEPA 8260D / 5021A
Tert-Butylbenzene | mg/L | USEPA 8260D / 5021A
1,2,4,-Trimethylbenzene | mg/L | USEPA 8260D / 5021A
1,3-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,4-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,2-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,2-dibromo-3-Chloropropane | mg/L | USEPA 8260D / 5021A
1,2,4-tricholrobenzene | mg/L | USEPA 8260D / 5021A
Hexacholorobutadiene | mg/L | USEPA 8260D / 5021A
1,2,3-trichlorobenzene | mg/L | USEPA 8260D / 5021A
Pesticides and Biproducts
Aldrin | mg/L | USEPA 8270E / 3550C
a-BHC | mg/L | USEPA 8270E / 3550C
b-BHC | mg/L | USEPA 8270E / 3550C
d-BHC | mg/L | USEPA 8270E / 3550C
g-BHC | mg/L | USEPA 8270E / 3550C
4,4'-DDD | mg/L | USEPA 8270E / 3550C
4,4'-DDE | mg/L | USEPA 8270E / 3550C
4,4'-DDT | mg/L | USEPA 8270E / 3550C
Dieldrin | mg/L | USEPA 8270E / 3550C
Endosulfan I | mg/L | USEPA 8270E / 3550C
Endosulfan II | mg/L | USEPA 8270E / 3550C
Endosulfan sulfate | mg/L | USEPA 8270E / 3550C
Endrin | mg/L | USEPA 8270E / 3550C
Endrin aldehyde | mg/L | USEPA 8270E / 3550C
Heptachlor | mg/L | USEPA 8270E / 3550C
Heptachlor epoxide | mg/L | USEPA 8270E / 3550C
Methoxychlor | mg/L | USEPA 8270E / 3550C
Aramite | mg/L | USEPA 8270E / 3550C
Chlorobenzilate | mg/L | USEPA 8270E / 3550C
Diallate | mg/L | USEPA 8270E / 3550C
Isodrin | mg/L | USEPA 8270E / 3550C
Kepone | mg/L | USEPA 8270E / 3550C
Pronamide | mg/L | USEPA 8270E / 3550C
Dimethoate | mg/L | USEPA 8270E / 3550C
Disulfoton | mg/L | USEPA 8270E / 3550C
Famphur | mg/L | USEPA 8270E / 3550C
Methyl parathion | mg/L | USEPA 8270E / 3550C
Parathion | mg/L | USEPA 8270E / 3550C
Phorate | mg/L | USEPA 8270E / 3550C
Sulfotep | mg/L | USEPA 8270E / 3550C
Thionazin | mg/L | USEPA 8270E / 3550C
O,O,O-Triethylphosphorothioate | mg/L | USEPA 8270E / 3550C
Tributyl Tin(Organo Tin Compound) | mg/L | ISO 17353:2004
Organo Silicon Compounds | mg/L | IHP/GCMS
Organo Copper Compounds | mg/L | IHP/GCMS
Microbiology Analysis
Fecal Coliforms | CFU/100mL | APHA 9222 D
Nematode Ova | No/L | APHA 10750
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method

## RGF Backwash Water
Constituent | UoM | Test Method
Chemical
pH Value @25°C | - | APHA 4500 H+
Temperature @ Lab | °C | Standard Therometer Probe
Total Suspended Solids @105°C | mg/L | APHA 2540 D
Ammonical Nitrogen as N | mg/L | APHA 4500 NH3
Organic Khjeldal Nitrogen as N | mg/L | APHA 4500 N Org
Nitrate-Nitrogen as N | mg/L | HACH 8507
Biochemical Oxygen Demand (BOD5) | mg/L | APHA 5210 B
Chemical Oxygen Demand (COD) | mg/L | APHA 5220 B
Total Phosphorous as P* | mg/L | HACH 8048
Total Cyanide* | mg/L | HACH 8027
Total Chlorine* | mg/L | HACH 8167
Fluoride | mg/L | HACH 8029
Oil & Grease* | mg/L | APHA/IR Spectro
Total sulphide as S* | mg/L | HACH 8131
Total Phenol* | mg/L | HACH 8047
Metals
Aluminium as Al | mg/L | APHA 3120 B/ICP
Arsenic as As | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Beryllium as Be | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Cadmium as Cd | mg/L | APHA 3120 B/ICP
Chromium as Cr | mg/L | APHA 3120 B/ICP
Cobalt as Co | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Lithium as Li | mg/L | APHA 3120 B/ICP
Mercury as Hg | mg/L | APHA/ICP/AFS
Molybdenum as Mo | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Selenium as Se | mg/L | APHA 3120 B/ICP
Silver as Ag | mg/L | APHA 3120 B/ICP
Vanadium as V | mg/L | APHA 3120 B/ICP
Zinc as Zn | mg/L | APHA 3120 B/ICP
Volatile Organic Compounds
Acetaldehyde | mg/L | USEPA 8260D / 5021A
Formaldehyde | mg/L | USEPA 8260D / 5021A
Benzene | mg/L | USEPA 8260D / 5021A
Ethyl Benzene | mg/L | USEPA 8260D / 5021A
Toluene | mg/L | USEPA 8260D / 5021A
m-Xylene | mg/L | USEPA 8260D / 5021A
O-xylene | mg/L | USEPA 8260D / 5021A
p-Xylene | mg/L | USEPA 8260D / 5021A
Diethyl ether | mg/L | USEPA 8260D / 5021A
Methylene chloride | mg/L | USEPA 8260D / 5021A
Tetrahydrofuran | mg/L | USEPA 8260D / 5021A
1,2-Dichloropropane | mg/L | USEPA 8260D / 5021A
Chlorobenzene | mg/L | USEPA 8260D / 5021A
Naphthalene | mg/L | USEPA 8260D / 5021A
Ethanol | mg/L | USEPA 8260D / 5021A
Methanol | mg/L | USEPA 8260D / 5021A
2-Propanol | mg/L | USEPA 8260D / 5021A
Ethyl acetate | mg/L | USEPA 8260D / 5021A
Organo Halogens
Dichlorodifluoromethane | mg/L | USEPA 8260D / 5021A
Chloromethane | mg/L | USEPA 8260D / 5021A
Vinyl Chloride | mg/L | USEPA 8260D / 5021A
Bromomethane | mg/L | USEPA 8260D / 5021A
Chloroethane | mg/L | USEPA 8260D / 5021A
Trichlorofluoromethane | mg/L | USEPA 8260D / 5021A
1,1-Dichloroethane | mg/L | USEPA 8260D / 5021A
2,2,-Dichloropropane | mg/L | USEPA 8260D / 5021A
Bromochloromethane | mg/L | USEPA 8260D / 5021A
1,1,1-Trichloroethane | mg/L | USEPA 8260D / 5021A
1,1-dichloropropane | mg/L | USEPA 8260D / 5021A
Trichloroethene | mg/L | USEPA 8260D / 5021A
1,2-dichloroethane | mg/L | USEPA 8260D / 5021A
Bromodichloromethane | mg/L | USEPA 8260D / 5021A
Dibromomethane | mg/L | USEPA 8260D / 5021A
Cis-1,3-dichloropropene | mg/L | USEPA 8260D / 5021A
Trans-1,3-dichloropropane | mg/L | USEPA 8260D / 5021A
1,1,2 -trichloropropane | mg/L | USEPA 8260D / 5021A
Tetrachloroethane | mg/L | USEPA 8260D / 5021A
Dibromochloromethane | mg/L | USEPA 8260D / 5021A
1,2-dibroethane | mg/L | USEPA 8260D / 5021A
Chlorobenzene | mg/L | USEPA 8260D / 5021A
1,1,1,2-tetrachloroethane | mg/L | USEPA 8260D / 5021A
Ethyl Benzene | mg/L | USEPA 8260D / 5021A
Bromoform | mg/L | USEPA 8260D / 5021A
1,1,2,2,-tetrachloroethane | mg/L | USEPA 8260D / 5021A
1,2,3-trichloropropane | mg/L | USEPA 8260D / 5021A
n-propyl benzene | mg/L | USEPA 8260D / 5021A
Bromobenzene | mg/L | USEPA 8260D / 5021A
2-Chlorotoluene | mg/L | USEPA 8260D / 5021A
4-Chlorotoluene | mg/L | USEPA 8260D / 5021A
Tert-Butylbenzene | mg/L | USEPA 8260D / 5021A
1,2,4,-Trimethylbenzene | mg/L | USEPA 8260D / 5021A
1,3-dichlorobenzene | mg/L | USEPA 8260D / 5021A
Bromobenzene | mg/L | USEPA 8260D / 5021A
2-Chlorotoluene | mg/L | USEPA 8260D / 5021A
4-Chlorotoluene | mg/L | USEPA 8260D / 5021A
Tert-Butylbenzene | mg/L | USEPA 8260D / 5021A
1,2,4,-Trimethylbenzene | mg/L | USEPA 8260D / 5021A
1,3-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,4-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,2-dichlorobenzene | mg/L | USEPA 8260D / 5021A
1,2-dibromo-3-Chloropropane | mg/L | USEPA 8260D / 5021A
1,2,4-tricholrobenzene | mg/L | USEPA 8260D / 5021A
Hexacholorobutadiene | mg/L | USEPA 8260D / 5021A
1,2,3-trichlorobenzene | mg/L | USEPA 8260D / 5021A
Pesticides and Biproducts
Aldrin | mg/L | USEPA 8270E / 3550C
a-BHC | mg/L | USEPA 8270E / 3550C
b-BHC | mg/L | USEPA 8270E / 3550C
d-BHC | mg/L | USEPA 8270E / 3550C
g-BHC | mg/L | USEPA 8270E / 3550C
4,4'-DDD | mg/L | USEPA 8270E / 3550C
4,4'-DDE | mg/L | USEPA 8270E / 3550C
4,4'-DDT | mg/L | USEPA 8270E / 3550C
Dieldrin | mg/L | USEPA 8270E / 3550C
Endosulfan I | mg/L | USEPA 8270E / 3550C
Endosulfan II | mg/L | USEPA 8270E / 3550C
Endosulfan sulfate | mg/L | USEPA 8270E / 3550C
Endrin | mg/L | USEPA 8270E / 3550C
Endrin aldehyde | mg/L | USEPA 8270E / 3550C
Heptachlor | mg/L | USEPA 8270E / 3550C
Heptachlor epoxide | mg/L | USEPA 8270E / 3550C
Methoxychlor | mg/L | USEPA 8270E / 3550C
Aramite | mg/L | USEPA 8270E / 3550C
Chlorobenzilate | mg/L | USEPA 8270E / 3550C
Diallate | mg/L | USEPA 8270E / 3550C
Isodrin | mg/L | USEPA 8270E / 3550C
Kepone | mg/L | USEPA 8270E / 3550C
Pronamide | mg/L | USEPA 8270E / 3550C
Dimethoate | mg/L | USEPA 8270E / 3550C
Disulfoton | mg/L | USEPA 8270E / 3550C
Famphur | mg/L | USEPA 8270E / 3550C
Methyl parathion | mg/L | USEPA 8270E / 3550C
Parathion | mg/L | USEPA 8270E / 3550C
Phorate | mg/L | USEPA 8270E / 3550C
Sulfotep | mg/L | USEPA 8270E / 3550C
Thionazin | mg/L | USEPA 8270E / 3550C
O,O,O-Triethylphosphorothioate | mg/L | USEPA 8270E / 3550C
Tributyl Tin(Organo Tin Compound) | mg/L | ISO 17353:2004
Organo Silicon Compounds | mg/L | IHP/GCMS
Organo Copper Compounds | mg/L | IHP/GCMS
Microbiology Analysis
Fecal Coliforms | CFU/100mL | APHA 9222 D
Nematode Ova | No/L | APHA 10750
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method

## Sea Water
Constituent | UoM | Test Method
Chemical
Electrical Conductivity @ 25⁰C | mS/cm | APHA 2510 B
pH Value @25°C | - | APHA 4500 H+
Total Dissolved Solids @180°C | mg/L | APHA 2540 C
Total Suspended Solids @105°C | mg/L | APHA 2540 D
Ammonical Nitrogen as NH3N | mg/L | APHA 4500 NH3
Total Khjeldal Nitrogen as N | mg/L | APHA 4500 N
Total Organic Carbon | mg/L | APHA 5310
Biochemical Oxygen Demand (BOD5) | mg/L | APHA 5210 B
Chemical Oxygen Demand (COD) | mg/L | APHA 5220 B
Bicarbonate as HCO3 | mg/L | APHA 2320 B
Carbonate as CO3 | mg/L | APHA 2320 B
Chloride as Cl- | mg/L | APHA 4500 Cl- B
Calcium Hardness as CaCO3 | mg/L | APHA 2340 C
Magnesium Hardness as CaCO3 | mg/L | APHA 2340 C
Total Hardness as CaCO3 | mg/L | APHA 2340 C
Carbon Dioxide as CO2 | mg/L | APHA 4500 CO2 C
Dissolved Oxygen as DO | mg/L | APHA 4500 O C
Sulphate as SO4 | mg/L | APHA 4500 SO42- C
Bromide | mg/L | EPA 300.1 Bromide
Bromate | mg/L | EPA 300.1 Bromate
Phosphate as PO4 | mg/L | HACH 8048
Silica as SiO2 | mg/L | HACH 8186
Fluoride | mg/L | HACH 8029
Oil & Grease | mg/L | APHA/IR Spectro
Chlorophyll Content | mg/m3 | APHA 10200 H
Metals
Sodium as Na | mg/L | APHA 3120 B/ICP
Potassium as K | mg/L | APHA 3120 B/ICP
Strontium as Sr | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Chromium as Cr | mg/L | APHA 3120 B/ICP
Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Microbiology Analysis
Fecal Coliforms | CFU/100mL | APHA 9222 D
Algae | No/L | APHA 10200 F
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method

## Process Water
Constituent | UoM | Test Method
Analytical Results - Chemical
Electrical Conductivity at 25 ⁰C | µS/cm | APHA 2510 B
Salinity at 25 ⁰C | ppt | APHA 2520
pH Value at 25 ⁰C | - | APHA 4500 H+ B
Temperature at Lab | °C | Standard Therometer Probe
Silt Density Index15 | - | ASTM D 4189
Total Dissolved Solids at 180 ⁰C | mg/L | APHA 2540 C
Total Suspended Solids at 105 ⁰C | mg/L | APHA 2540 D
Bicarbonate as HCO3 | mg/L | APHA 2320 B
Carbonate as CO3 | mg/L | APHA 2320 B
Chloride as Cl- | mg/L | APHA 4500 Cl- B
Calcium Hardness as CaCO3 | mg/L | APHA 2340 C
Magnesium Hardness as CaCO3 | mg/L | APHA 2340 C | 2
Total Hardness as CaCO3 | mg/L | APHA 2340 C
Sulphate as SO4 | mg/L | APHA 4500 SO42- C
Bromide | mg/L | EPA 300.1 Bromide
Bromate | mg/L | EPA 300.1 Bromate
Phosphate as PO4 | mg/L | HACH 8048
Silica as SiO2 | mg/L | HACH 8186
Turbidity as NTU | NTU | APHA 2130 B/HACH
Fluoride | mg/L | HACH 8029
Metals
Sodium as Na | mg/L | APHA 3120 B/ICP
Potassium as K | mg/L | APHA 3120 B/ICP
Strontium as Sr | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Chromium as Cr | mg/L | APHA 3120 B/ICP
Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method

## Potable Water
Constituent | UoM | Test Method
Chemical
Electrical Conductivity at 25 ⁰C | µS/cm | APHA 2510 B
Salinity at 25 ⁰C | ppt | APHA 2520
pH Value at 25 ⁰C | - | APHA 4500 H+ B
Temperature at Lab | °C | Standard Therometer Probe
Turbidity | NTU | APHA 2130/ HACH
Total Dissolved Solids at 180 ⁰C | mg/L | APHA 2540 C
Total Suspended Solids at 105 ⁰C | mg/L | APHA 2540 D
Bicarbonate as HCO3 | mg/L | APHA 2320 B
Carbonate as CO3 | mg/L | APHA 2320 B
Langlier Index | mg/L | APHA 2320 B
Chloride as Cl- | mg/L | APHA 4500 Cl- B
Calcium Hardness as CaCO3 | mg/L | APHA 2340 C
Magnesium Hardness as CaCO3 | mg/L | APHA 2340 C
Total Hardness as CaCO3 | mg/L | APHA 2340 C
Sulphate as SO4 | mg/L | APHA 4500 SO42- C
Bromide | mg/L | EPA 300.1 Bromide
Bromate | mg/L | EPA 300.1 Bromate
Phosphate as PO4 | mg/L | HACH 8048
Silica as SiO2 | mg/L | HACH 8186
Fluoride | mg/L | HACH 8029
Metals
Sodium as Na | mg/L | APHA 3120 B/ICP
Potassium as K | mg/L | APHA 3120 B/ICP
Strontium as Sr | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Chromium as Cr | mg/L | APHA 3120 B/ICP
Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Microbiology Analysis
Total Coliforms | Cfu/100ml | APHA 9222 B
Escherichia Coil | Cfu/100ml | APHA 9222 G
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method

## SWRO-1
Constituent | UoM | Test Method
Chemical
Electrical Conductivity at 25 ⁰C | µS/cm | APHA 2510 B
Salinity at 25 ⁰C | ppt | APHA 2520
pH Value at 25 ⁰C | - | APHA 4500 H+ B
Temperature at Lab | °C | Standard Therometer Probe
Total Dissolved Solids at 180 ⁰C | mg/L | APHA 2540 C
Total Suspended Solids at 105 ⁰C | mg/L | APHA 2540 D
Bicarbonate as HCO3 | mg/L | APHA 2320 B
Carbonate as CO3 | mg/L | APHA 2320 B
Chloride as Cl- | mg/L | APHA 4500 Cl- B
Calcium Hardness as CaCO3 | mg/L | APHA 2340 C
Magnesium Hardness as CaCO3 | mg/L | APHA 2340 C
Total Hardness as CaCO3 | mg/L | APHA 2340 C
Sulphate as SO4 | mg/L | APHA 4500 SO42- C
Bromide | mg/L | EPA 300.1 Bromide
Bromate | mg/L | EPA 300.1 Bromate
Phosphate as PO4 | mg/L | HACH 8048
Silica as SiO2 | mg/L | HACH 8186
Turbidity as NTU | NTU | APHA 2130 B/HACH
Fluoride | mg/L | HACH 8029
Metals
Sodium as Na | mg/L | APHA 3120 B/ICP
Potassium as K | mg/L | APHA 3120 B/ICP
Strontium as Sr | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Chromium as Cr | mg/L | APHA 3120 B/ICP
Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Certificate Ref.
Sample Ref.
Wimpey Client :
Constituent | UoM | Test Method