## Sea Water Intake
List of Parameters - Sea Water intake
# | Constituent | UoM | Test Method
1 | pH Value @25°C | - | APHA 4500 H+
2 | Temperature @ Lab | °C | Standard Therometer Probe
3 | Total Suspended Solids @105°C | mg/l | APHA 2540 D
4 | Total Nitrogen as N | mg/l | APHA 4500 N
5 | Ammonical Nitrogen as N | mg/l | APHA 4500 NH3
6 | Organic Khjeldal Nitrogen as N | mg/l | APHA 4500 N Org
7 | Nitrate-Nitrogen as N | mg/l | HACH 8507
8 | Biochemical Oxygen Demand (BOD5) | mg/l | APHA 5210 B
9 | Chemical Oxygen Demand (COD) | mg/l | APHA 5220 B
10 | Total Phosphorous as P | mg/l | HACH 8048
11 | Total Cyanide | mg/l | HACH 8027
12 | Total Chlorine | mg/l | HACH 8167
13 | Fluoride | mg/l | HACH 8029
14 | Arsenic as As | mg/l | APHA 3120 B/ICP
15 | Barium as Ba | mg/l | APHA 3120 B/ICP
16 | Beryllium as Be | mg/l | APHA 3120 B/ICP
17 | Boron as B | mg/l | APHA 3120 B/ICP
18 | Cadmium as Cd | mg/l | APHA 3120 B/ICP
19 | Chromium as Cr | mg/l | APHA 3120 B/ICP
20 | Cobalt as Co | mg/l | APHA 3120 B/ICP
21 | Copper as Cu | mg/l | APHA 3120 B/ICP
22 | Lithium as Li | mg/l | APHA 3120 B/ICP
23 | Aluminium as Al | mg/l | APHA 3120 B/ICP
24 | Total Iron as Fe | mg/l | APHA 3120 B/ICP
25 | Lead as Pb | mg/l | APHA 3120 B/ICP
26 | Mercury as Hg | mg/l | APHA/ICP/AFS
27 | Molybdenum as Mo | mg/l | APHA 3120 B/ICP
28 | Nickel as Ni | mg/l | APHA 3120 B/ICP
29 | Selenium as Se | mg/l | APHA 3120 B/ICP
30 | Silver as Ag | mg/l | APHA 3120 B/ICP
31 | Vanadium as V | mg/l | APHA 3120 B/ICP
32 | Zinc as Zn | mg/l | APHA 3120 B/ICP
33 | Oil & Grease | mg/l | APHA/IR Spectro
34 | Total Sulphide as S | mg/l | HACH 8131
35 | Total Phenol | mg/l | HACH 8047
36 | Pesticides as OCP | mg/l | USEPA 8081 A/3540 C
37 | Organo Halogens | mg/l | USEPA 8260/GCMS
38 | Tributyl Tin(Organo Tin Compound) | mg/l | ISO 17353:2004
39 | Fecal Coliforms | Cfu/L | APHA 9222 D
40 | Nematode Ova | No/L | SOP Micro OMN 044
Certificate Ref.
Sample Ref.
Wimpey Client :
| Constituent | UoM | Test Method

## Sea Water Outfall
List of Parameters - Seawater - Outfall
# | Constituent | UoM | Test Method
1 | pH Value @25°C | - | APHA 4500 H+
2 | Temperature @ Lab | °C | Standard Therometer Probe
3 | Total Suspended Solids @105°C | mg/l | APHA 2540 D
4 | Total Nitrogen as N | mg/l | APHA 4500 N
5 | Ammonical Nitrogen as N | mg/l | APHA 4500 NH3
6 | Organic Khjeldal Nitrogen as N | mg/l | APHA 4500 N Org
7 | Nitrate-Nitrogen as N | mg/l | HACH 8507
8 | Biochemical Oxygen Demand (BOD5) | mg/l | APHA 5210 B
9 | Chemical Oxygen Demand (COD) | mg/l | APHA 5220 B
10 | Total Phosphorous as P | mg/l | HACH 8048
11 | Total Cyanide | mg/l | HACH 8027
12 | Total Chlorine | mg/l | HACH 8167
13 | Fluoride | mg/l | HACH 8029
14 | Arsenic as As | mg/l | APHA 3120 B/ICP
15 | Barium as Ba | mg/l | APHA 3120 B/ICP
16 | Beryllium as Be | mg/l | APHA 3120 B/ICP
17 | Boron as B | mg/l | APHA 3120 B/ICP
18 | Cadmium as Cd | mg/l | APHA 3120 B/ICP
19 | Chromium as Cr | mg/l | APHA 3120 B/ICP
20 | Cobalt as Co | mg/l | APHA 3120 B/ICP
21 | Copper as Cu | mg/l | APHA 3120 B/ICP
22 | Lithium as Li | mg/l | APHA 3120 B/ICP
23 | Aluminium as Al | mg/l | APHA 3120 B/ICP
24 | Total Iron as Fe | mg/l | APHA 3120 B/ICP
25 | Lead as Pb | mg/l | APHA 3120 B/ICP
26 | Mercury as Hg | mg/l | APHA/ICP/AFS
27 | Molybdenum as Mo | mg/l | APHA 3120 B/ICP
28 | Nickel as Ni | mg/l | APHA 3120 B/ICP
29 | Selenium as Se | mg/l | APHA 3120 B/ICP
30 | Silver as Ag | mg/l | APHA 3120 B/ICP
31 | Vanadium as V | mg/l | APHA 3120 B/ICP
32 | Zinc as Zn | mg/l | APHA 3120 B/ICP
33 | Oil & Grease | mg/l | APHA/IR Spectro
34 | Total Sulphide as S | mg/l | HACH 8131
35 | Total Phenol | mg/l | HACH 8047
36 | Pesticides as OCP | mg/l | USEPA 8081 A/3540 C
37 | Organo Halogens | mg/l | USEPA 8260/GCMS
38 | Tributyl Tin(Organo Tin Compound) | mg/l | ISO 17353:2004
39 | Fecal Coliforms | Cfu/L | APHA 9222 D
40 | Nematode Ova | No/L | SOP Micro OMN 044
Certificate Ref.
Sample Ref.
Wimpey Client :
| Constituent | UoM | Test Method

## Process water network random
Constituent | UoM | Test Method
Analytical Results - Chemical
Electrical Conductivity at 25 ⁰C | µS/cm | APHA 2510 B
Salinity at 25 ⁰C | ppt | APHA 2520
pH Value at 25 ⁰C | - | APHA 4500 H+ B
Temperature at Lab | °C | Standard Therometer Probe
Silt Density Index15 | - | ASTM D 4189
Total Dissolved Solids at 180 ⁰C | mg/L | APHA 2540 C
Total Suspended Solids at 105 ⁰C | mg/L | APHA 2540 D
Bicarbonate as HCO3 | mg/L | APHA 2320 B
Carbonate as CO3 | mg/L | APHA 2320 B
Chloride as Cl- | mg/L | APHA 4500 Cl- B
Calcium Hardness as CaCO3 | mg/L | APHA 2340 C
Magnesium Hardness as CaCO3 | mg/L | APHA 2340 C
Total Hardness as CaCO3 | mg/L | APHA 2340 C
Sulphate as SO4 | mg/L | APHA 4500 SO42- C
Bromide | mg/L | EPA 300.1 Bromide
Bromate | mg/L | EPA 300.1 Bromate
Phosphate as PO4 | mg/L | HACH 8048
Silica as SiO2 | mg/L | HACH 8186
Turbidity as NTU | NTU | APHA 2130 B/HACH
Fluoride | mg/L | HACH 8029
Metals
Sodium as Na | mg/L | APHA 3120 B/ICP
Potassium as K | mg/L | APHA 3120 B/ICP
Strontium as Sr | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Chromium as Cr | mg/L | APHA 3120 B/ICP
Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP

## Potable water
Constituent | UoM | Test Method
Chemical
Electrical Conductivity at 25 ⁰C | µS/cm | APHA 2510 B
Salinity at 25 ⁰C | ppt | APHA 2520
pH Value at 25 ⁰C | - | APHA 4500 H+ B
Temperature at Lab | °C | Standard Therometer Probe
Turbidity | NTU | APHA 2130/ HACH
Total Dissolved Solids at 180 ⁰C | mg/L | APHA 2540 C
Total Suspended Solids at 105 ⁰C | mg/L | APHA 2540 D
Bicarbonate as HCO3 | mg/L | APHA 2320 B
Carbonate as CO3 | mg/L | APHA 2320 B
Langlier Index | mg/L | APHA 2320 B
Chloride as Cl- | mg/L | APHA 4500 Cl- B
Calcium Hardness as CaCO3 | mg/L | APHA 2340 C
Magnesium Hardness as CaCO3 | mg/L | APHA 2340 C
Total Hardness as CaCO3 | mg/L | APHA 2340 C
Sulphate as SO4 | mg/L | APHA 4500 SO42- C
Bromide | mg/L | EPA 300.1 Bromide
Bromate | mg/L | EPA 300.1 Bromate
Phosphate as PO4 | mg/L | HACH 8048
Silica as SiO2 | mg/L | HACH 8186
Fluoride | mg/L | HACH 8029
Metals
Sodium as Na | mg/L | APHA 3120 B/ICP
Potassium as K | mg/L | APHA 3120 B/ICP
Strontium as Sr | mg/L | APHA 3120 B/ICP
Barium as Ba | mg/L | APHA 3120 B/ICP
Boron as B | mg/L | APHA 3120 B/ICP
Copper as Cu | mg/L | APHA 3120 B/ICP
Chromium as Cr | mg/L | APHA 3120 B/ICP
Iron as Fe | mg/L | APHA 3120 B/ICP
Lead as Pb | mg/L | APHA 3120 B/ICP
Nickel as Ni | mg/L | APHA 3120 B/ICP
Microbiology Analysis
Total Coliforms | Cfu/100ml | APHA 9222 B
Escherichia Coil | Cfu/100ml | APHA 9222 G