## BOQ -Cost- 3 years
Sr.No. | Item Description / Sample | Facility | Frequency | Total Qty For 3years)) | Unit price | Total ( 3 year )
1 | Process water (Phase -1) | CETRP plant | Monthly | 36
2 | Process water (Phase -2) | CETRP plant | Monthly | 36
3 | Clarifier outlet water (Phase -1) | CETRP plant | Monthly | 36
4 | RO reject water | CETRP plant | Monthly | 36
5 | MLD STP balancing tank Inlet water | CETRP plant | Monthly | 36
6 | MBR outlet water | CETRP plant | Monthly | 36
7 | Sludge Analysis | CETRP plant | Monthly | 36
8 | Clarifier outlet water (Phase -2) | CETRP plant | Monthly | 36
9 | RO reject water analysis | RO plant | Monthly | 36
10 | Back wash water | RO plant | Monthly | 36
11 | Seawater analysis | RO plant | Monthly | 36
12 | Process water (RO out) | RO plant | Monthly | 36
13 | SWRO permeate water | RO plant | Monthly | 36
14 | Potable water RO outlet | RO plant | Monthly | 36
15 | RGF Backwash | RO plant | Monthly | 36
16 | Potable Water Network Random Sample | Potable Water Network (Port & MISCO) | Monthly | 36
17 | Process Water Network Random Sample | Process Water Network (Port & MISCO) | Monthly | 36
18 | Seawater water inatke | INTAKE | Quarterly | 18
19 | Seawater water outfall | INTAKE | Quarterly | 18
20 | Intermittent | Any of the Water Sample | As on required | Based on actual quantity
Total
Vat 5%
Total +Vat

## BOQ- Technical spec
Sr.No. | Item Description / Sample | Facility | Required | Quantity | Secification
1 | Process water (Phase -1) | CETRP plant | Monthly | 1 | Ref : Annex-1
2 | Process water (Phase -2) | CETRP plant | Monthly | 1 | Ref : Annex-1
2 | Clarifier outlet water (Phase -1) | CETRP plant | Monthly | 1 | Ref : Annex-1
3 | RO reject water | CETRP plant | Monthly | 1 | Ref : Annex-1
4 | MLD STP balancing tank Inlet water | CETRP plant | Monthly | 1 | Ref : Annex-1
5 | MBR outlet water | CETRP plant | Monthly | 1 | Ref : Annex-1
6 | Sludge Analysis | CETRP plant | Monthly | 1 | Ref : Annex-1
7 | Clarifier outlet water (Phase -2) | CETRP plant | Monthly | 1 | Ref : Annex-1
8 | RO reject water analysis | RO plant | Monthly | 1 | Ref : Annex-2
9 | Back wash water | RO plant | Monthly | 1 | Ref : Annex-2
10 | Seawater analysis | RO plant | Monthly | 1 | Ref : Annex-2
11 | Process water (RO out) | RO plant | Monthly | 1 | Ref : Annex-2
12 | SWRO permeate water | RO plant | Monthly | 1 | Ref : Annex-2
13 | Potable water RO outlet | RO plant | Monthly | 1 | Ref : Annex-2
15 | RGF Backwash Water | RO Plant | Monthly | 1 | Ref : Annex-2
16 | Potable Water Network Random Sample | Potable Water Network (Port & MISCO) | Monthly | 1 | Ref : Annex-3
17 | Process Water Network Random Sample | Process Water Network (Port & MISCO) | Monthly | 1 | Ref : Annex-3
18 | Seawater intake | INTAKE | Quarterly | 1 | Ref : Annex-3
19 | Seawater outfall | INTAKE | Quarterly | 1 | Ref : Annex-3
20 | Intermittent | Any of the water Sample | As on required | Based on Actual quantity | Ref : Annex-3